## Slide 1: Design a fire detection and Protection system for a single storied 850 sq ft restaurent. EEE-300: Electrical Service Design Section-01

## Slide 2: Group-05
Name | Student ID
Rakibul Islam Rifat | 2020-1-80-001
Shahjia Anjum | 2020-1-80-063
Bipu Roy | 2020-1-80-067
Abdullah Al Rafi | 2020-1-80-068
Ibn Zoha Sayad | 2020-1-80-075

## Slide 3: Objective
We are to design a fire detection system that protects an 850 sq feet restaurant from fire hazards.

## Slide 4: Floor Plan

## Slide 5: Fire protection zones

## Slide 6: Fire detection and protection system

## Slide 7: Legends

## Slide 8: Various types of detection devices
Heat detector
Linear heat detection wire

## Slide 9: Various types of detection devices
Smoke detector
Gas leakage detector
Carbon monoxide detector

## Slide 10: Various types of detection devices
Multi sensor detector
Manual call

## Slide 11: Chosen smoke detector
Device specification:
Type: Photoelectric
Price: 1,140 BDT
Working current: <= 100mA
Alarm sound pressure: 85dB/1m
Detection range: 215 sq feet
Installation method: Ceiling installation
Working temperature: -10°C to +50°C
Link: https://www.aliexpress.com/item/1005004149450576.html?spm=a2g0o.productlist.0.0.1e7f1b1fBGLajt&algo_pvid=7c4a48c3-6743-4e59-bf64-dffeea109311&algo_exp_id=7c4a48c3-6743-4e59-bf64-dffeea109311-1&pdp_ext_f=%7B"sku_id"%3A"12000028199646090"%7D&pdp_npi=2%40dis%21BDT%212281.15%211140.58%21%21%21628.27%21%21%402101d68d16623632965632967e990a%2112000028199646090%21sea&curPageLogUid=sMqtIuvxdvXr

## Slide 12: Calculation for smoke detector
Total area of zone-1 is 520

## Slide 13: Calculation for smoke detector
Area = 215 sq feet
Number of smoke detector required for zone-1,
= = = 2.42 ≈ 3

## Slide 14: Calculation for smoke detector
No Blank spot!
Maximum distance between smoke detectors is 30 feet
Smoke detectors should be 3 feet away from windows and doors
[According to NFPA]

## Slide 15: Fire suppression system:

## Slide 16: Protection equipment's for suppression system:
Class-K wet chemical extinguisher
Linear heat detection pipe
Nozzles
Manual call point

## Slide 17: Protection equipment's for suppression system:
Device specification:
Brand: Safety plus
Price: 12,504 BDT
Capacity: 6L
Discharge range: 90%
Discharge time: 15-20 sec
Link: https://www.indiamart.com/proddetail/6l-class-k-type-fire-extinguisher-20029719730.html

## Slide 18: Selection of fire extinguisher
Device specification:
Brand: Sunrise
Price: 2,700 BDT
Capacity: 5L ABC powder
Suitable fire type: All
Link: https://fireextinguisher.me/product/abc-dry-powder-fire-extinguisher/

## Slide 19: Protection equipment's for suppression system:
Device specification:
Brand: ASENWARE
Price: 6$
Application: Heating
Alarm resistance: 470ohm/1W
Operating temperature range: 170℃
Link: https://www.alibaba.com/product-detail/Asenware-Linear-Heat-Detection-Cable-for_1600375414695.html

## Slide 20: Protection equipment's for suppression system:
Device specification:
Brand: SILVERGATE
Price: 2.3$
Size: 2.5”
Color: Gray
Link: https://www.alibaba.com/product-detail/professional-product-fire-extinguisher-nozzle-high_1700005808433.html?spm=a2700.7724857.0.0.1241216dBSdCgS

## Slide 21: Protection equipment's for suppression system:
Device specification:
Price: 2,300 BDT
Operating voltage range: 9-28VDC Volts
Alarm resistance: 470ohm/1W
Operating temperature range: -10℃~50℃
Link: https://www.indiamart.com/proddetail/6l-class-k-type-fire-extinguisher-20029719730.html

## Slide 22: Fire Alarms
Fire alarm (sound only)
Fire alarm (light only)
Fire alarm (light and sound)

## Slide 23: Selection of fire alarm
Fire alarm with sound and light
Device specification:
Brand: Safe Armed
Price: 1,139 BDT
Audio alarm: 100 dB
Flash period: 1.5 sec
Temp range: (10 to 50)°C
Link: https://www.aliexpress.com/item/32502710220.html

## Slide 24: Various types of control panel
Conventional control panel
Addressable control panel

## Slide 25: Selection of control panel
Device specification:
Brand: NSE
Price: 19,500 BDT
Zones: 4
Type of control panel: Fire alarm control panel
Link: https://www.bdstall.com/details/fire-alarm-control-panel-49482/

## Slide 26: Various types of sprinkler:

## Slide 27: Selection of sprinkler:
Device specification:
Automatic dry powder extinguisher
Price: 3,500 BDT
Operation temp: 68°C
Link: https://www.corporatestationbd.com/product/automatic-dry-powder-fire-extinguisher-bd//

## Slide 28: Block diagram of smoke detector

## Slide 29: Block diagram of suppression system

## Slide 30: Block diagram of dry powder extinguisher

## Slide 31: Block diagram of Manual call point

## Slide 32: Block diagram of fire detection and control system

## Slide 33: Cost Calculation
Equipment | Price in BDT | Quantity | Cost
Smoke Detector | 1,140 | 4 | 4,560
Fire Extinguisher (K Type) | 12,504 | 1 | 12,504
Fire Extinguisher Regular | 2,700 | 4 | 10,800
Heat detection Cable | (6$)570 | 1 | 570
Fire Suppression Nozzle | (2.3$)218 | 3 | 654
Manual Call Device | 2,300 | 2 | 4,600
Alarm System | 1,139 | 1 | 1,139
Control Panel (Conventional) | 19,500 | 1 | 19,500
Automatic Fire Suppression | 3,600 | 1 | 3,600
Total | - | - | 57,927

## Slide 34
Thank You